## OptumRx
FlashSystem Site and System Configuration Worksheet for site: DFW
System Location Information |  | Site Network Information
Company Name | Optum | DNS Server 1 IP Address | 10.90.40.105
Street Address | 1707 West Creek Lane | DNS Server 2 IP Address | 10.4.148.103
City | Chaska | NTP Server (IP or FQDN) | 10.175.224.2
State | MN | Timezone | Central
Postal Code | 55427 | Management Network Information
Country | US | System Name | CTCIFST4
Contact Information (support will contact this person) |  | Cluster IP | 10.208.128.169
Contact Name | UHG IBMi Storage | Node 1 Service IP | 10.208.128.170
Email Reply Address | iCOE_Storage_DL@DS.uhc.com | Node 2 Service IP | 10.208.128.171
Telephone (Primary) | 763-383-2945
Telephone (Alternate) | 952-933-7769
Notification Settings |  | Subnet Mask | 255.255.252.0
SNMP Server |  | Default Gateway | 10.208.128.1
SNMP Community | public | Location (room row rack) | SR2
SNMP Port | 162 | IP Replication Network | IP Address | Subnet Mask | Defautlt Gateway | VLAN
SNMP Events to capture | error/warning/info | Node 1 Port 1 Replication IP | N/A | N/A | N/A | N/A
Syslog Server |  | Node 2 Port 1 Replication IP | N/A | N/A | N/A | N/A
Syslog Port | 514 | Node 1 Port 2 Replication IP | N/A | N/A | N/A | N/A
Email Server (IP or FQDN) |  | Node 1 Port 2 Replication IP | N/A | N/A | N/A | N/A
Email Server Port | 25
Email Notification Recipients
Email Address 1 | iCOE_Storage_DL@DS.uhc.com
Email Address 2
Email Address 3
Email Address 4

## temp
FLASHSYSTEM | [8 empty] | CONTACT US:
[9 empty] | Doug Mayer | doug.m@evolvingsol.com |  |  |  | 612.805.2882
[9 empty] | Rick Koetter | rick.k@evolvingsol.com |  |  |  | 612.321.1854
|  | Installation and prep worksheet | [6 empty] | Joel Conaway | joel.c@evolvingsol.com |  |  |  | 952.210.2804
General IP Information |  |  |  |  | Service Contact Information |  |  |  |  | Notification Settings
| System Name |  | CTCIFST4 |  |  | IBM Customer No. |  |  |  |  | SMTP Server IP
| Flashsystem MTM SN |  | 4662-6H2 |  |  | Company name | Optum |  |  |  | SMTP Port
| Domain Name |  | uhc.com |  |  | Contact Name | UHG IBMi Storage |  |  |  | Errors to be notified |  |  |  | Error | Warning | Information | Inventory
| Cluster IP Address |  | 10.208.128.169 |  |  | email address | iCOE_Storage_DL@DS.uhc.com
| Canister1 service IP |  | 10.208.128.170 |  |  | phone number | 763-383-2945,ICTC | [5 empty] | eMail Addresses
| Canister2 service IP |  | 10.208.128.171 |  |  | alt. phone number | 952-933-7769
| Subnet mask |  | 255.255.252.0 |  |  | fax number | [5 empty] | 1
| Gateway |  | 10.208.128.1 |  |  | Street address | 1707 West Creek Lane |  |  |  |  | 2
| DNS Server1 IP |  | 10.90.40.105 |  |  | Street address2 | [5 empty] | 3
| DNS Server2 IP |  | 10.4.148.103 |  |  | city, state, zip | Chaska, MN 55427 |  |  |  |  | 4
| NTP Server Name/IP |  | 10.175.224.2 |  |  | DC location - room | SR2 |  |  |  |  | 5
| NTP Server Name/IP |  | 172.16.0.4 |  |  | DC Row, Rack, U | [5 empty] | 6
Encryption Preferences | [9 empty] | Replication Partnership Information
| Server |  | Name | Pri |  | IP Address | Port | Certificate |  |  | Partner System Name |  |  | N/A
| Key Server 1 | [9 empty] | Partner System GUI IP |  |  | N/A
| Key Server 2 | [9 empty] | Replication IP1 |  |  | N/A
| Key Server 3 | [9 empty] | Replication IP2 |  |  | N/A
| Key Server 4 | [9 empty] | Replication IP3 |  |  | N/A
| Common SSL Certificate |  | email to Evolving Solutions team or specify location | [7 empty] | Replication IP4 |  |  | N/A
General Configuration
| superuser initial password will be: (change this once installed) | [5 empty] | abcd1234
| Requested code level for the storage cluster | [5 empty] | *latest available
| Do you want to enable remote support for anytime or on permission only | [5 empty] | On Demand
| Storage-side NPIV will be configured for host connectivity unless specified | [5 empty] | transitional
| We highly recommend connecting to Storage Insights | [5 empty] | info
| A VM is required for running the Storage Insights data collector | [5 empty] | info

## DFW
FlashSystem Site and System Configuration Worksheet for site: DFW
System Location Information |  | Site Network Information
Company Name | Inmar Technologies | DNS Server 1 IP Address | 10.1.20.149
Street Address | 3845 Grand Lakes Way, Ste 100 | DNS Server 2 IP Address | 10.1.20.150
City | Grand Prairie | NTP Server (IP or FQDN) | 10.1.20.149
State | TX | Timezone | Central
Postal Code | 75050 | Management Network Information
Country | US | System Name | DfwV7K02
Contact Information (support will contact this person) |  | Cluster IP | 10.150.10.90
Contact Name | Jeff Isaman | Node 1 Service IP | 10.150.10.88
Email Reply Address | Jeff.Isaman@inmar.com | Node 2 Service IP | 10.150.10.89
Telephone (Primary) | 336-631.2738 | Node 3 Service IP
Telephone (Alternate) | 336-403-8589 | Node 4 Service IP
Notification Settings |  | Subnet Mask | 255.255.255.128
SNMP Server | snmp-trap.inmar.com | Default Gateway | 10.150.10.1
SNMP Community | public | Location (room row rack) | DFW
SNMP Port | 162 | IP Replication Network | IP Address | Subnet Mask | Defautlt Gateway | VLAN
SNMP Events to capture | error/warning/info | Node 1 Port 1 Replication IP | N/A | N/A | N/A | N/A
Syslog Server |  | Node 2 Port 1 Replication IP | N/A | N/A | N/A | N/A
Syslog Port | 514 | Node 1 Port 2 Replication IP | N/A | N/A | N/A | N/A
Email Server (IP or FQDN) | smtp.inmar.com | Node 1 Port 2 Replication IP | N/A | N/A | N/A | N/A
Email Server Port | 25
Email Notification Recipients
Email Address 1 | sanalerts@inmar.com
Email Address 2 | jeff.isaman@inmar.com
Email Address 3
Email Address 4

## WS
FlashSystem Site and System Configuration Worksheet for site: WS
System Location Information |  | Site Network Information
Company Name | Inmar Technologies | DNS Server 1 IP Address | 10.1.20.149
Street Address | 415 E Third Street | DNS Server 2 IP Address | 10.1.20.150
City | Winston-Salem | NTP Server (IP or FQDN) | 10.1.20.149
State | NC | Timezone | Eastern
Postal Code | 27101 | Management Network Information
Country | US | System Name | WSV7k02
Contact Information (support will contact this person) |  | Cluster IP | 10.160.10.22
Contact Name | Jeff Isaman | Node 1 Service IP | 10.160.10.23
Email Reply Address | Jeff.Isaman@inmar.com | Node 2 Service IP | 10.160.10.24
Telephone (Primary) | 336-631.2738 | Node 3 Service IP
Telephone (Alternate) | 336-403-8589 | Node 4 Service IP
Notification Settings |  | Subnet Mask | 255.255.0.0
SNMP Server | snmp-trap.inmar.com | Default Gateway | 10.1.0.254
SNMP Community | public | Location (room row rack) | WS
SNMP Port | 162 | IP Replication Network | IP Address | Subnet Mask | Defautlt Gateway | VLAN
SNMP Events to capture | error/warning/info | Node 1 Port 1 Replication IP | N/A | N/A | N/A | N/A
Syslog Server |  | Node 2 Port 1 Replication IP | N/A | N/A | N/A | N/A
Syslog Port | 514 | Node 1 Port 2 Replication IP | N/A | N/A | N/A | N/A
Email Server (IP or FQDN) | smtp.inmar.com | Node 1 Port 2 Replication IP | N/A | N/A | N/A | N/A
Email Server Port | 25
Email Notification Recipients
Email Address 1 | sanalerts@inmar.com
Email Address 2 | jeff.isaman@inmar.com
Email Address 3
Email Address 4

## CTC
FlashSystem Site and System Configuration Worksheet for site: CTC
System Location Information |  | Site Network Information
Company Name | Optum-IT | DNS Server 1 IP Address | 10.90.40.105
Street Address | 1707 West Creek Lane | DNS Server 2 IP Address | 10.7.136.103
City | Chaska | NTP Server (IP or FQDN) | 10.175.224.3
State | MN | Timezone | Central
Postal Code | 55318 | Management Network Information
Country | US | System Name | CTCLSFS-CL0
Contact Information (support will contact this person) |  | Cluster IP | 10.174.38.61
Contact Name | Operations-Mainframe Ops | Node 1 Service IP | 10.174.38.59
Email Reply Address | uht_operations_productioncontrol@optum.com | Node 2 Service IP | 10.174.38.60
Telephone (Primary) | 763-383-2945 | Node 3 Service IP | 10.174.38.77
Telephone (Alternate) |  | Node 4 Service IP | 10.174.38.81
Notification Settings |  | Subnet Mask | 255.255.240.0
SNMP Server |  | Default Gateway | 10.174.38.1
SNMP Community | public | Location (room row rack) | SR1 AT129
SNMP Port | 162 | IP Replication Network | IP Address | Subnet Mask | Defautlt Gateway | VLAN
Syslog Server |  | Node 1 Port 1 Replication IP | N/A | N/A | N/A | N/A
Syslog Port | 514 | Node 2 Port 1 Replication IP | N/A | N/A | N/A | N/A
Email Server (IP or FQDN) | mailo2.uhc.com | Node 1 Port 2 Replication IP | N/A | N/A | N/A | N/A
Email Server Port | 25 | Node 1 Port 2 Replication IP | N/A | N/A | N/A | N/A
Email Notification Recipients
Email Address 1 | mfstrg@optum.com
Email Address 2
Email Address 3
Email Address 4

## config
cluster_name_ip | flashsystem | id | timezone | Column1
username | superuser | 510 | Alaska | 510
password | Passw0rd | 511 | Aleutian | 511
|  | 512 | Arizona | 512
|  | 513 | Central | 513
|  | 514 | Eastern | 514
|  | 515 | East-Indiana | 515
|  | 516 | Hawaii | 516
|  | 517 | Indiana-Starke | 517
|  | 518 | Michigan | 518
|  | 519 | Mountain | 519
|  | 520 | Pacific | 520
|  | 521 | Samoa | 521
|  | 522 | UTC | 522

## General Info JFB
FLASHSYSTEM/SAN SWITCH | [6 empty] | CONTACT US:
[7 empty] | Joel Conaway | joel.c@evolvingsol.com |  |  |  | 952-210-2804
[7 empty] | Rick Koetter | rick.k@evolvingsol.com |  |  |  | 612-321-1854
|  | Installation and prep worksheet |  |  |  |  | Doug Mayer | doug.m@evolvingsol.com |  |  |  | 612-805-2882
General IP Information |  |  |  | Service Contact Information |  |  |  | Notification Settings
| System Name |  | See System IPs and Names | [5 empty] | SNMP Server
[5 empty] | Company name | Wa |  |  | SNMP Community |  |  | public
| Domain Name |  | genmills.com |  | Contact Name | Datacenter Operations |  |  | SNMP Port |  |  | 162
| Cluster IP Address |  | See System IPs and Names |  | email address | platform.vendor.support@genmills.com |  |  | Syslog Server
| Canister1 service IP |  | See System IPs and Names |  | phone number | 763-764-4194 |  |  | Syslog Port |  |  | 514
| Canister2 service IP |  | See System IPs and Names |  | alt. phone number |  |  |  | SMTP Server |  |  | mail.genmills.com
| Subnet mask |  | See System IPs and Names |  | fax number |  |  |  | SMTP Port |  |  | 25
| Gateway |  | See System IPs and Names |  | Street address | 9010 Plymouth Ave |  |  | Errors to be notified |  |  |  | Error | Warning | Information | Inventory
| DNS Server1 IP |  | 146.217.169.242 |  | Street address2
| DNS Server2 IP |  | 146.217.169.250 |  | city, state, zip | Golden Valley, MN 55426
| NTP Server Name/IP |  | ntp.genmills.com |  | DC location - room | See System IPs and Names |  |  |  |  | eMail Addresses
| NTP Server Name/IP |  |  |  | DC Row, Rack, U | See System IPs and Names |  |  |  | 1 | joe.bruneau@genmills.com |  | X | X
[10 empty] | 2 | amit.adhav@genmills.com |  | X | X
[10 empty] | 3 | aaron.kopel@genmills.com |  | X | X
General Configuration
| superuser initial password will be: (change this once installed) |  |  |  |  | Passw0rd
| Requested code level for the storage cluster |  |  |  |  | *latest available
| Do you want to enable remote support for anytime or on permission only |  |  |  |  | Anytime
| Storage-side NPIV will be configured for host connectivity unless specified |  |  |  |  | Enable NPIV (default)
| A VM is required for running the Storage Insights data collector |  |  |  |  | Informational

## Sheet2
Running command:
11:25
svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'Rack AR03 RU 35_36' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
11:25
The task is 0% complete.
11:25
Creating the email user
11:25
Running command:
11:25
svctask mkemailuser -address joe.bruneau@genmills.com -error on -info off -inventory off -warning on
11:25
The email user (ID 0) was created.
11:25
The task is 25% complete.
11:25
Creating the email user
11:25
Running command:
11:25
svctask mkemailuser -address amit.adhav@genmills.com -error on -info off -inventory off -warning on
11:25
The email user (ID 1) was created.
11:25
The task is 50% complete.
11:25
Creating the email user
11:25
Running command:
11:25
svctask mkemailuser -address aaron.kopel@genmills.com -error on -info off -inventory off -warning on
11:25
The email user (ID 2) was created.
11:25
The task is 75% complete.
11:25
Creating the email user
11:25
Running command:
11:25
svctask mkemailuser -address callhome0@de.ibm.com -info off -inventory on -usertype support -warning off
11:25
The email user (ID 3) was created.
11:25
The task is 0% complete.
11:25
Creating the email server
11:25
Running command:
11:25
svctask mkemailserver -ip mail.genmills.com -port 25
11:25
The email server (ID 0) was created.
11:25
Running command:
11:25
svctask startemail
11:25
Synchronizing memory cache.
11:25
The task is 100% complete.
11:25
Task completed.

## System IPs and Names
Device | Site | System Name | Primary Management IP | Canister 1 Service IP | Canister 2 Service IP | Subnet Mask | Default Gateway | DC Row, Rack, U | Serial Number | Service IP 1 | Service IP 2 | Service IP 3
Prod FS7300 #1 | MGO | mgofsprd1 | 172.26.147.3 | 172.26.147.4 | 172.26.147.5 | 255.255.240.0 | 172.26.144.1 | CP11 35_36 | 78E3EP7 | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip 172.26.147.4 01-1 | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip 172.26.147.5 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'CP11 35_36' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
Prod FS7300 #2 | MGO | mgofsprd2 | 172.26.147.6 | 172.26.147.7 | 172.26.147.8 | 255.255.240.0 | 172.26.144.1 | CN11 39_40 | 78E3EVX | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip 172.26.147.7 01-1 | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip 172.26.147.8 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'CN11 39_40' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
Prod FS7300 #3 | MGO | mgofsprd3 | 172.26.147.9 | 172.26.147.10 | 172.26.147.11 | 255.255.240.0 | 172.26.144.1 | CL11 35_36 | 78E3ENZ | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip 172.26.147.10 01-1 | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip 172.26.147.11 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'CL11 35_36' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
Prod FS7300 #4 | MGO | mgofsprd4 | 172.26.147.12 | 172.26.147.13 | 172.26.147.14 | 255.255.240.0 | 172.26.144.1 | CN11 37_38 | 78E3EP3 | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip 172.26.147.13 01-1 | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip 172.26.147.14 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'CN11 37_38' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
Backup FS7300 #1 | MGO | mgofsbkp1 | 172.26.147.15 | 172.26.147.16 | 172.26.147.17 | 255.255.240.0 | 172.26.144.1 | CP11 6-17 | 78E3EVZ | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip 172.26.147.16 01-1 | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip 172.26.147.17 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'CP11 6-17' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
SAN Switch #1 | MGO | mgofcs1 | 172.26.147.1 | N/A | N/A | 255.255.240.0 | 172.26.144.1 | MGO,CL11 |  | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip N/A 01-1 | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip N/A 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'MGO,CL11' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
SAN Switch #2 | MGO | mgofcs2 | 172.26.147.2 | N/A | N/A | 255.255.240.0 | 172.26.144.1 | MGO,CP11 |  | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip N/A 01-1 | satask chserviceip -gw 172.26.144.1 -mask 255.255.240.0 -serviceip N/A 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'MGO,CP11' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
Prod FS7300 #5 | JFB | jfbfsprd1 | 172.16.147.3 | 172.16.147.4 | 172.16.147.5 | 255.255.240.0 | 172.16.144.1 | AR03 35_36 |  | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip 172.16.147.4 01-1 | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip 172.16.147.5 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'AR03 35_36' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
Prod FS7300 #6 | JFB | jfbfsprd2 | 172.16.147.6 | 172.16.147.7 | 172.16.147.8 | 255.255.240.0 | 172.16.144.1 | AH03 23_24 |  | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip 172.16.147.7 01-1 | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip 172.16.147.8 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'AH03 23_24' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
Prod FS7300 #7 | JFB | jfbfsprd3 | 172.16.147.9 | 172.16.147.10 | 172.16.147.11 | 255.255.240.0 | 172.16.144.1 | JFB,???? |  | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip 172.16.147.10 01-1 | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip 172.16.147.11 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'JFB,????' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
Prod FS7300 #8 | JFB | jfbfsprd4 | 172.16.147.12 | 172.16.147.13 | 172.16.147.14 | 255.255.240.0 | 172.16.144.1 | JFB,???? |  | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip 172.16.147.13 01-1 | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip 172.16.147.14 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'JFB,????' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
Backup FS7300 #2 | JFB | jfbfsbkp1 | 172.16.147.15 | 172.16.147.16 | 172.16.147.17 | 255.255.240.0 | 172.16.144.1 | AH03 6_17 |  | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip 172.16.147.16 01-1 | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip 172.16.147.17 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'AH03 6_17' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
SAN Switch #3 | JFB | jfbfcs1 | 172.16.147.1 | N/A | N/A | 255.255.240.0 | 172.16.144.1 | JFB,???? |  | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip N/A 01-1 | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip N/A 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'JFB,????' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426
SAN Switch #4 | JFB | jfbfcs2 | 172.16.147.2 | N/A | N/A | 255.255.240.0 | 172.16.144.1 | JFB,???? |  | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip N/A 01-1 | satask chserviceip -gw 172.16.144.1 -mask 255.255.240.0 -serviceip N/A 01-2 | svctask chemail -address '9010 Plymouth Ave' -city 'Golden Valley' -contact 'Datacenter Operations' -country US -location 'JFB,????' -organization 'General Mills, Inc.' -primary 763-764-4194 -reply platform.vendor.support@genmills.com -state MN -zip 55426

## FS Implementation
IBM FlashSystem - Implementation Checklist
|  | mgofsprd1 | mgofsprd2 | mgofsprd3 | mgofsprd4 | mgofsbkp1 | jfbfsprd1 | jfbfsprd2 | jfbfsprd3 | jfbfsprd4 | jfbfsbkp1
Preparation |  | P | P | P | P | P | P | P | P | P | P
| create DCR | x | x | x | x | x | x | x | x | x | x
| create worksheets | x | x | x | x | x | x | x | x | x | x
| deliver DCR to customer | x | x | x | x | x | x | x | x | x | x
| deliver worksheets to customer | x | x | x | x | x | x | x | x | x | x
| worksheets completed by customer | x | x | x | x | x | x | x | x | x | x
Install |  | I | I | I | I | I | I | I | I | I | I
| rack and stack | x | x | x | x | x | x | x | x | x | x
| tidy up cable management | x | x | x | x | x |  |  | x | x
| power up | x | x | x | x | x | x | x | x | x | x
| configure cluster using the technician port | x | x | x | x | x | x | x | x | x | x
| change password | x | x | x | x | x | x | x | x | x | x
| set system name | x | x | x | x | x | x | x | x | x | x
| enable licensed functions | x | x | x | x | x | x | x | x | x | x
| set date and time | x | x | x | x | x | x | x | x | x | x
| install encryption license | na | na | na | na | na | na | na | na | na | na
| add additional control or expansion enclosures (if required) | na | na | na | na | x | na | na | na | na | x
| set the service ips | x | x | x | x | x | x | x | x | x | x
| ethernet ips for iscsi or ip replication | na | na | na | na | na | na | na | na | na | na
| ethernet portsets | na | na | na | na | na | na | na | na | na | na
| volume protection (recommend leaving on) | x | x | x | x | x | x | x | x | x | x
| call home / email notifications | x | x | x |  | x | x | x |  |  | x
| snmp | na | na | na | na | na | na | na | na | na | na
| syslog | na | na | na | na | na | na | na | na | na | na
| ldap (if desired) | na | na | na | na | na | na | na | na | na | na
storage insights
support assistance
| enable encryption (usb or sklm) | na | na | na | na | na | na | na | na | na | na
| create pool | x | x | x | x | x | x | x | x | x | x
| add storage to the pool (draid6, typically take all defaults in gui). | x | x | x | x | x | x | x | x | x | x
| modify i/o group bitmap space (cli or now in gui of newer code) | na | na | na | na | na | na | na | na | na | na
| modify fibre channel port masking (if needed for replication) | na | na | na | na | na | na | na | na | na | na
| update system software | x | x | x | x | x | x | x | x | x | x
| update drive firmware | x | x | x | x | x | x | x | x | x | x
| gui preferences (notifications) | x | x | x | x | x | x | x | x | x | x
| ip quorum | na | na | na | na | na | na | na | na | na | na
| backup confiig | x | x | x |  | x | x | x | x | x | x | svcconfig backup
| download xml | x | x | x |  | x | x | x | x | x | x
Note on L36: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: J6V7 appears to be latest: search for HUS728T8TAL4200 https://www.ibm.com/support/pages/supported-drive-types-and-firmware-levels-ibm-spectrum-virtualize-family-products

## SAN Implementation
Brocade SAN Switch - Implementation Checklist
|  | mgofcs1 | mgofcs2 | jfbfcs1 | jfbfcs2
Preparation |  | P | P | P | P
| create DCR | x | x | x | x
| create worksheets | x | x | x | x
| deliver DCR to customer | x | x | x | x
| deliver worksheets to customer | x | x | x | x
| worksheets completed by customer | x | x | x | x
Install |  | I | I | I | I
| rack and stack | x | x | x | x
| tidy up cable management | x | x | x | x
| power up | x | x | x | x
| change password | x | x | x | x
| set switch name | x | x | x | x
| enable licensed functions | x | x | x | x
| update firmware | x | x | x | x | firmwaredownload <ftp_server_ip>,<ftp_userid>,<path_to_firmware>
| set timezone | x | x | x | x | tstimezone America/Chicago
| set date and time | x | x | x | x | date mmddHHMMyy
| configure dns | x | x | x | x | dnsconfig --add -domain genmills.com -serverip1 146.217.169.245 -serverip2 146.217.169.250
| configure ntp |  |  |  |  | tsclockserver "ntp.genmills.com"
| configure smtp |  |  |  |  | relayConfig --config -rla_ip <relay IP> -rla_dname <domain name>
| configure domain id and set insistent domain ID | 11 | 12 | 111 | 112 | switchdisable ; configure
| enable switch | x | x | x | x | switchenable
| default zone policy | x | x | x | x | defzone --noaccess ; cfgsave
| install sfps | x | x | x | x | move longwave sfps
add to storage insights

## Remote Support Requirements
FLASHSYSTEM
Remote Support Firewall Requirments
The firewalls rules need to be as follows:
Remote Support
All service IPs: outbound to 170.225.126.11 and 170.225.126.12 on port 22
All service IPs: outbound to 170.225.127.11 and 170.225.127.12 on port 22
Uploading logs:
All service IPs: outbound to esupport.ibm.com on port 443
FixCentral: (for code downloads)
All cluster IPs: outbound to delivery04.dhe.ibm.com on port 22
All service IPs: outbound to delivery04.dhe.ibm.com on port 22
Cloud Call Home
All cluster IPs: outbound to esupport.ibm.com on port 443
All service IPs: outbound to esupport.ibm.com on port 443
NOTE: If you need to use actual IP addresses for the above
• esupport.ibm.com = 129.42.56.189, 129.42.54.189 and 129.42.60.189
• delivery04.dhe.ibm.com = 170.225.15.105, 170.225.15.104, 170.225.15.107, 170.225.126.44
Documentation:
IBM Spectrum Virtualize® Products Call Home and Remote Support Overview
Storage Insights Checklist